## result
| Pattern | Min current[A] | Max current[A] | Min voltage[V] | Max voltage[V] | Current[A](120V) | Voltage[V](2000A) | Current error | Voltage error
1s1p-ext16.5 | 1s1p-ext16.5 | 1662.0155 | 2796.8992 | 107.2 | 180.4 | 1860.4651 | 129 | 139.5349 | 9
1s1p-ext28.5 | 1s1p-ext28.5 | 1401.3072 | 2358.1699 | 107.2 | 180.4 | 1568.6275 | 153 | 431.3725 | 33
1s1p-ext17.5 | 1s1p-ext17.5 | 1636.6412 | 2754.1985 | 107.2 | 180.4 | 1832.0611 | 131 | 167.9389 | 11
1s1p-ext29.5 | 1s1p-ext29.5 | 1383.2258 | 2327.7419 | 107.2 | 180.4 | 1548.3871 | 155 | 451.6129 | 35
1s1p-ext6.0 | 1s1p-ext6.0 | 1985.1852 | 3340.7407 | 107.2 | 180.4 | 2222.2222 | 108 | 222.2222 | 12
1s1p-ext18.5 | 1s1p-ext18.5 | 1612.0301 | 2712.782 | 107.2 | 180.4 | 1804.5113 | 133 | 195.4887 | 13
1s1p-ext30.5 | 1s1p-ext30.5 | 1365.6051 | 2298.0892 | 107.2 | 180.4 | 1528.6624 | 157 | 471.3376 | 37
1s1p-ext20.5 | 1s1p-ext20.5 | 1564.9635 | 2633.5766 | 107.2 | 180.4 | 1751.8248 | 137 | 248.1752 | 17
1s1p-ext32.5 | 1s1p-ext32.5 | 1331.677 | 2240.9938 | 107.2 | 180.4 | 1490.6832 | 161 | 509.3168 | 41
1s1p-ext7.0 | 1s1p-ext7.0 | 1949.0909 | 3280 | 107.2 | 180.4 | 2181.8182 | 110 | 181.8182 | 10
1s1p-ext19.5 | 1s1p-ext19.5 | 1588.1481 | 2672.5926 | 107.2 | 180.4 | 1777.7778 | 135 | 222.2222 | 15
1s1p-ext31.5 | 1s1p-ext31.5 | 1348.4277 | 2269.1824 | 107.2 | 180.4 | 1509.434 | 159 | 490.566 | 39
1s1p-ext21.5 | 1s1p-ext21.5 | 1542.446 | 2595.6835 | 107.2 | 180.4 | 1726.6187 | 139 | 273.3813 | 19
1s1p-ext33.5 | 1s1p-ext33.5 | 1315.3374 | 2213.4969 | 107.2 | 180.4 | 1472.3926 | 163 | 527.6074 | 43
1s1p-ext22.5 | 1s1p-ext22.5 | 1520.5674 | 2558.8652 | 107.2 | 180.4 | 1702.1277 | 141 | 297.8723 | 21
1s1p-ext34.5 | 1s1p-ext34.5 | 1299.3939 | 2186.6667 | 107.2 | 180.4 | 1454.5455 | 165 | 545.4545 | 45
1s1p-ext23.5 | 1s1p-ext23.5 | 1499.3007 | 2523.0769 | 107.2 | 180.4 | 1678.3217 | 143 | 321.6783 | 23
1s1p-ext35.5 | 1s1p-ext35.5 | 1283.8323 | 2160.479 | 107.2 | 180.4 | 1437.1257 | 167 | 562.8743 | 47
1s2p-ext28.5 | 1s2p-ext28.5 | 1897.3451 | 3192.9204 | 107.2 | 180.4 | 2123.8938 | 113 | 123.8938 | 7
1s2p-ext50.0 | 1s2p-ext50.0 | 1374.359 | 2312.8205 | 107.2 | 180.4 | 1538.4615 | 156 | 461.5385 | 36
1s2p-ext29.5 | 1s2p-ext29.5 | 1864.3478 | 3137.3913 | 107.2 | 180.4 | 2086.9565 | 115 | 86.9565 | 5
1s2p-ext51.0 | 1s2p-ext51.0 | 1356.962 | 2283.5443 | 107.2 | 180.4 | 1518.9873 | 158 | 481.0127 | 38
1s2p-ext30.5 | 1s2p-ext30.5 | 1832.4786 | 3083.7607 | 107.2 | 180.4 | 2051.2821 | 117 | 51.2821 | 3
1s2p-ext52.0 | 1s2p-ext52.0 | 1340 | 2255 | 107.2 | 180.4 | 1500 | 160 | 500 | 40
1s2p-ext32.5 | 1s2p-ext32.5 | 1771.9008 | 2981.8182 | 107.2 | 180.4 | 1983.4711 | 121 | 16.5289 | 1
1s2p-ext54.0 | 1s2p-ext54.0 | 1307.3171 | 2200 | 107.2 | 180.4 | 1463.4146 | 164 | 536.5854 | 44
1s2p-ext45.0 | 1s2p-ext45.0 | 1468.4932 | 2471.2329 | 107.2 | 180.4 | 1643.8356 | 146 | 356.1644 | 26
1s2p-ext31.5 | 1s2p-ext31.5 | 1801.6807 | 3031.9328 | 107.2 | 180.4 | 2016.8067 | 119 | 16.8067 | 1
1s2p-ext53.0 | 1s2p-ext53.0 | 1323.4568 | 2227.1605 | 107.2 | 180.4 | 1481.4815 | 162 | 518.5185 | 42
1s2p-ext33.5 | 1s2p-ext33.5 | 1743.0894 | 2933.3333 | 107.2 | 180.4 | 1951.2195 | 123 | 48.7805 | 3
1s2p-ext55.0 | 1s2p-ext55.0 | 1291.5663 | 2173.494 | 107.2 | 180.4 | 1445.7831 | 166 | 554.2169 | 46
1s2p-ext46.0 | 1s2p-ext46.0 | 1448.6486 | 2437.8378 | 107.2 | 180.4 | 1621.6216 | 148 | 378.3784 | 28
1s2p-ext34.5 | 1s2p-ext34.5 | 1715.2 | 2886.4 | 107.2 | 180.4 | 1920 | 125 | 80 | 5
1s2p-ext56.0 | 1s2p-ext56.0 | 1276.1905 | 2147.619 | 107.2 | 180.4 | 1428.5714 | 168 | 571.4286 | 48
1s2p-ext47.0 | 1s2p-ext47.0 | 1429.3333 | 2405.3333 | 107.2 | 180.4 | 1600 | 150 | 400 | 30
1s2p-ext49.0 | 1s2p-ext49.0 | 1392.2078 | 2342.8571 | 107.2 | 180.4 | 1558.4416 | 154 | 441.5584 | 34
1s2p-ext35.5 | 1s2p-ext35.5 | 1688.189 | 2840.9449 | 107.2 | 180.4 | 1889.7638 | 127 | 110.2362 | 7
1s2p-ext57.0 | 1s2p-ext57.0 | 1261.1765 | 2122.3529 | 107.2 | 180.4 | 1411.7647 | 170 | 588.2353 | 50
1s2p-ext48.0 | 1s2p-ext48.0 | 1410.5263 | 2373.6842 | 107.2 | 180.4 | 1578.9474 | 152 | 421.0526 | 32
1s3p-ext50.0 | 1s3p-ext50.0 | 1502.8037 | 2528.972 | 107.2 | 180.4 | 1682.243 | 142.6667 | 317.757 | 22.6667
1s3p-ext51.0 | 1s3p-ext51.0 | 1482.0276 | 2494.0092 | 107.2 | 180.4 | 1658.9862 | 144.6667 | 341.0138 | 24.6667
1s3p-ext52.0 | 1s3p-ext52.0 | 1461.8182 | 2460 | 107.2 | 180.4 | 1636.3636 | 146.6667 | 363.6364 | 26.6667
1s3p-ext32.5 | 1s3p-ext32.5 | 1991.3313 | 3351.0836 | 107.2 | 180.4 | 2229.1022 | 107.6667 | 229.1022 | 12.3333
1s3p-ext54.0 | 1s3p-ext54.0 | 1423.0088 | 2394.6903 | 107.2 | 180.4 | 1592.9204 | 150.6667 | 407.0796 | 30.6667
1s3p-ext45.0 | 1s3p-ext45.0 | 1616.0804 | 2719.598 | 107.2 | 180.4 | 1809.0452 | 132.6667 | 190.9548 | 12.6667
1s3p-ext66.5 | 1s3p-ext66.5 | 1220.4934 | 2053.8899 | 107.2 | 180.4 | 1366.2239 | 175.6667 | 633.7761 | 55.6667
1s3p-ext53.0 | 1s3p-ext53.0 | 1442.1525 | 2426.9058 | 107.2 | 180.4 | 1614.3498 | 148.6667 | 385.6502 | 28.6667
1s3p-ext33.5 | 1s3p-ext33.5 | 1955.0152 | 3289.9696 | 107.2 | 180.4 | 2188.4498 | 109.6667 | 188.4498 | 10.3333
1s3p-ext55.0 | 1s3p-ext55.0 | 1404.3668 | 2363.3188 | 107.2 | 180.4 | 1572.0524 | 152.6667 | 427.9476 | 32.6667
1s3p-ext46.0 | 1s3p-ext46.0 | 1592.0792 | 2679.2079 | 107.2 | 180.4 | 1782.1782 | 134.6667 | 217.8218 | 14.6667
1s3p-ext67.5 | 1s3p-ext67.5 | 1206.7542 | 2030.7692 | 107.2 | 180.4 | 1350.8443 | 177.6667 | 649.1557 | 57.6667
1s3p-ext34.5 | 1s3p-ext34.5 | 1920 | 3231.0448 | 107.2 | 180.4 | 2149.2537 | 111.6667 | 149.2537 | 8.3333
1s3p-ext56.0 | 1s3p-ext56.0 | 1386.2069 | 2332.7586 | 107.2 | 180.4 | 1551.7241 | 154.6667 | 448.2759 | 34.6667
1s3p-ext47.0 | 1s3p-ext47.0 | 1568.7805 | 2640 | 107.2 | 180.4 | 1756.0976 | 136.6667 | 243.9024 | 16.6667
1s3p-ext68.5 | 1s3p-ext68.5 | 1193.321 | 2008.1633 | 107.2 | 180.4 | 1335.8071 | 179.6667 | 664.1929 | 59.6667
1s3p-ext49.0 | 1s3p-ext49.0 | 1524.1706 | 2564.9289 | 107.2 | 180.4 | 1706.1611 | 140.6667 | 293.8389 | 20.6667
1s3p-ext35.5 | 1s3p-ext35.5 | 1886.217 | 3174.1935 | 107.2 | 180.4 | 2111.437 | 113.6667 | 111.437 | 6.3333
1s3p-ext57.0 | 1s3p-ext57.0 | 1368.5106 | 2302.9787 | 107.2 | 180.4 | 1531.9149 | 156.6667 | 468.0851 | 36.6667
1s3p-ext48.0 | 1s3p-ext48.0 | 1546.1538 | 2601.9231 | 107.2 | 180.4 | 1730.7692 | 138.6667 | 269.2308 | 18.6667
1s4p-ext50.0 | 1s4p-ext50.0 | 1576.4706 | 2652.9412 | 107.2 | 180.4 | 1764.7059 | 136 | 235.2941 | 16
1s4p-ext51.0 | 1s4p-ext51.0 | 1553.6232 | 2614.4928 | 107.2 | 180.4 | 1739.1304 | 138 | 260.8696 | 18
1s4p-ext52.0 | 1s4p-ext52.0 | 1531.4286 | 2577.1429 | 107.2 | 180.4 | 1714.2857 | 140 | 285.7143 | 20
1s4p-ext54.0 | 1s4p-ext54.0 | 1488.8889 | 2505.5556 | 107.2 | 180.4 | 1666.6667 | 144 | 333.3333 | 24
1s4p-ext45.0 | 1s4p-ext45.0 | 1701.5873 | 2863.4921 | 107.2 | 180.4 | 1904.7619 | 126 | 95.2381 | 6
1s4p-ext66.5 | 1s4p-ext66.5 | 1268.6391 | 2134.9112 | 107.2 | 180.4 | 1420.1183 | 169 | 579.8817 | 49
1s4p-ext53.0 | 1s4p-ext53.0 | 1509.8592 | 2540.8451 | 107.2 | 180.4 | 1690.1408 | 142 | 309.8592 | 22
1s4p-ext55.0 | 1s4p-ext55.0 | 1468.4932 | 2471.2329 | 107.2 | 180.4 | 1643.8356 | 146 | 356.1644 | 26
1s4p-ext46.0 | 1s4p-ext46.0 | 1675 | 2818.75 | 107.2 | 180.4 | 1875 | 128 | 125 | 8
1s4p-ext67.5 | 1s4p-ext67.5 | 1253.8012 | 2109.9415 | 107.2 | 180.4 | 1403.5088 | 171 | 596.4912 | 51
1s4p-ext56.0 | 1s4p-ext56.0 | 1448.6486 | 2437.8378 | 107.2 | 180.4 | 1621.6216 | 148 | 378.3784 | 28
1s4p-ext47.0 | 1s4p-ext47.0 | 1649.2308 | 2775.3846 | 107.2 | 180.4 | 1846.1538 | 130 | 153.8462 | 10
1s4p-ext68.5 | 1s4p-ext68.5 | 1239.3064 | 2085.5491 | 107.2 | 180.4 | 1387.2832 | 173 | 612.7168 | 53
1s4p-ext49.0 | 1s4p-ext49.0 | 1600 | 2692.5373 | 107.2 | 180.4 | 1791.0448 | 134 | 208.9552 | 14
1s4p-ext70.5 | 1s4p-ext70.5 | 1211.2994 | 2038.4181 | 107.2 | 180.4 | 1355.9322 | 177 | 644.0678 | 57
1s4p-ext57.0 | 1s4p-ext57.0 | 1429.3333 | 2405.3333 | 107.2 | 180.4 | 1600 | 150 | 400 | 30
1s4p-ext48.0 | 1s4p-ext48.0 | 1624.2424 | 2733.3333 | 107.2 | 180.4 | 1818.1818 | 132 | 181.8182 | 12
1s4p-ext69.5 | 1s4p-ext69.5 | 1225.1429 | 2061.7143 | 107.2 | 180.4 | 1371.4286 | 175 | 628.5714 | 55
1s4p-ext71.5 | 1s4p-ext71.5 | 1197.7654 | 2015.6425 | 107.2 | 180.4 | 1340.7821 | 179 | 659.2179 | 59
1s5p-ext50.0 | 1s5p-ext50.0 | 1624.2424 | 2733.3333 | 107.2 | 180.4 | 1818.1818 | 132 | 181.8182 | 12
1s5p-ext51.0 | 1s5p-ext51.0 | 1600 | 2692.5373 | 107.2 | 180.4 | 1791.0448 | 134 | 208.9552 | 14
1s5p-ext52.0 | 1s5p-ext52.0 | 1576.4706 | 2652.9412 | 107.2 | 180.4 | 1764.7059 | 136 | 235.2941 | 16
1s5p-ext54.0 | 1s5p-ext54.0 | 1531.4286 | 2577.1429 | 107.2 | 180.4 | 1714.2857 | 140 | 285.7143 | 20
1s5p-ext45.0 | 1s5p-ext45.0 | 1757.377 | 2957.377 | 107.2 | 180.4 | 1967.2131 | 122 | 32.7869 | 2
1s5p-ext66.5 | 1s5p-ext66.5 | 1299.3939 | 2186.6667 | 107.2 | 180.4 | 1454.5455 | 165 | 545.4545 | 45
1s5p-ext53.0 | 1s5p-ext53.0 | 1553.6232 | 2614.4928 | 107.2 | 180.4 | 1739.1304 | 138 | 260.8696 | 18
1s5p-ext55.0 | 1s5p-ext55.0 | 1509.8592 | 2540.8451 | 107.2 | 180.4 | 1690.1408 | 142 | 309.8592 | 22
1s5p-ext46.0 | 1s5p-ext46.0 | 1729.0323 | 2909.6774 | 107.2 | 180.4 | 1935.4839 | 124 | 64.5161 | 4
1s5p-ext67.5 | 1s5p-ext67.5 | 1283.8323 | 2160.479 | 107.2 | 180.4 | 1437.1257 | 167 | 562.8743 | 47
1s5p-ext56.0 | 1s5p-ext56.0 | 1488.8889 | 2505.5556 | 107.2 | 180.4 | 1666.6667 | 144 | 333.3333 | 24
1s5p-ext47.0 | 1s5p-ext47.0 | 1701.5873 | 2863.4921 | 107.2 | 180.4 | 1904.7619 | 126 | 95.2381 | 6
1s5p-ext68.5 | 1s5p-ext68.5 | 1268.6391 | 2134.9112 | 107.2 | 180.4 | 1420.1183 | 169 | 579.8817 | 49
1s5p-ext49.0 | 1s5p-ext49.0 | 1649.2308 | 2775.3846 | 107.2 | 180.4 | 1846.1538 | 130 | 153.8462 | 10
1s5p-ext70.5 | 1s5p-ext70.5 | 1239.3064 | 2085.5491 | 107.2 | 180.4 | 1387.2832 | 173 | 612.7168 | 53
1s5p-ext57.0 | 1s5p-ext57.0 | 1468.4932 | 2471.2329 | 107.2 | 180.4 | 1643.8356 | 146 | 356.1644 | 26
1s5p-ext48.0 | 1s5p-ext48.0 | 1675 | 2818.75 | 107.2 | 180.4 | 1875 | 128 | 125 | 8
1s5p-ext69.5 | 1s5p-ext69.5 | 1253.8012 | 2109.9415 | 107.2 | 180.4 | 1403.5088 | 171 | 596.4912 | 51
1s5p-ext71.5 | 1s5p-ext71.5 | 1225.1429 | 2061.7143 | 107.2 | 180.4 | 1371.4286 | 175 | 628.5714 | 55
1s5p-ext72.5 | 1s5p-ext72.5 | 1211.2994 | 2038.4181 | 107.2 | 180.4 | 1355.9322 | 177 | 644.0678 | 57
1s5p-ext73.5 | 1s5p-ext73.5 | 1197.7654 | 2015.6425 | 107.2 | 180.4 | 1340.7821 | 179 | 659.2179 | 59
1s6p-ext50.0 | 1s6p-ext50.0 | 1657.732 | 2789.6907 | 107.2 | 180.4 | 1855.6701 | 129.3333 | 144.3299 | 9.3333
1s6p-ext51.0 | 1s6p-ext51.0 | 1632.4873 | 2747.2081 | 107.2 | 180.4 | 1827.4112 | 131.3333 | 172.5888 | 11.3333
1s6p-ext52.0 | 1s6p-ext52.0 | 1608 | 2706 | 107.2 | 180.4 | 1800 | 133.3333 | 200 | 13.3333
1s6p-ext54.0 | 1s6p-ext54.0 | 1561.165 | 2627.1845 | 107.2 | 180.4 | 1747.5728 | 137.3333 | 252.4272 | 17.3333
1s6p-ext45.0 | 1s6p-ext45.0 | 1796.648 | 3023.4637 | 107.2 | 180.4 | 2011.1732 | 119.3333 | 11.1732 | 0.66667
1s6p-ext66.5 | 1s6p-ext66.5 | 1320.7392 | 2222.5873 | 107.2 | 180.4 | 1478.4394 | 162.3333 | 521.5606 | 42.3333
1s6p-ext53.0 | 1s6p-ext53.0 | 1584.2365 | 2666.0099 | 107.2 | 180.4 | 1773.399 | 135.3333 | 226.601 | 15.3333
1s6p-ext55.0 | 1s6p-ext55.0 | 1538.756 | 2589.4737 | 107.2 | 180.4 | 1722.488 | 139.3333 | 277.512 | 19.3333
1s6p-ext46.0 | 1s6p-ext46.0 | 1767.033 | 2973.6264 | 107.2 | 180.4 | 1978.022 | 121.3333 | 21.978 | 1.3333
1s6p-ext67.5 | 1s6p-ext67.5 | 1304.6653 | 2195.5375 | 107.2 | 180.4 | 1460.4462 | 164.3333 | 539.5538 | 44.3333
1s6p-ext56.0 | 1s6p-ext56.0 | 1516.9811 | 2552.8302 | 107.2 | 180.4 | 1698.1132 | 141.3333 | 301.8868 | 21.3333
1s6p-ext47.0 | 1s6p-ext47.0 | 1738.3784 | 2925.4054 | 107.2 | 180.4 | 1945.9459 | 123.3333 | 54.0541 | 3.3333
1s6p-ext68.5 | 1s6p-ext68.5 | 1288.978 | 2169.1383 | 107.2 | 180.4 | 1442.8858 | 166.3333 | 557.1142 | 46.3333
1s6p-ext49.0 | 1s6p-ext49.0 | 1683.7696 | 2833.5079 | 107.2 | 180.4 | 1884.8168 | 127.3333 | 115.1832 | 7.3333
1s6p-ext70.5 | 1s6p-ext70.5 | 1258.7084 | 2118.1996 | 107.2 | 180.4 | 1409.002 | 170.3333 | 590.998 | 50.3333
1s6p-ext57.0 | 1s6p-ext57.0 | 1495.814 | 2517.2093 | 107.2 | 180.4 | 1674.4186 | 143.3333 | 325.5814 | 23.3333
1s6p-ext48.0 | 1s6p-ext48.0 | 1710.6383 | 2878.7234 | 107.2 | 180.4 | 1914.8936 | 125.3333 | 85.1064 | 5.3333
1s6p-ext69.5 | 1s6p-ext69.5 | 1273.6634 | 2143.3663 | 107.2 | 180.4 | 1425.7426 | 168.3333 | 574.2574 | 48.3333
1s6p-ext71.5 | 1s6p-ext71.5 | 1244.1006 | 2093.617 | 107.2 | 180.4 | 1392.6499 | 172.3333 | 607.3501 | 52.3333
1s6p-ext72.5 | 1s6p-ext72.5 | 1229.8279 | 2069.5985 | 107.2 | 180.4 | 1376.673 | 174.3333 | 623.327 | 54.3333
1s6p-ext73.5 | 1s6p-ext73.5 | 1215.879 | 2046.1248 | 107.2 | 180.4 | 1361.0586 | 176.3333 | 638.9414 | 56.3333
1s7p-ext50.0 | 1s7p-ext50.0 | 1682.5112 | 2831.3901 | 107.2 | 180.4 | 1883.4081 | 127.4286 | 116.5919 | 7.4286
1s7p-ext51.0 | 1s7p-ext51.0 | 1656.5121 | 2787.638 | 107.2 | 180.4 | 1854.3046 | 129.4286 | 145.6954 | 9.4286
1s7p-ext52.0 | 1s7p-ext52.0 | 1631.3043 | 2745.2174 | 107.2 | 180.4 | 1826.087 | 131.4286 | 173.913 | 11.4286
1s7p-ext54.0 | 1s7p-ext54.0 | 1583.1224 | 2664.135 | 107.2 | 180.4 | 1772.1519 | 135.4286 | 227.8481 | 15.4286
1s7p-ext45.0 | 1s7p-ext45.0 | 1825.7908 | 3072.5061 | 107.2 | 180.4 | 2043.7956 | 117.4286 | 43.7956 | 2.5714
1s7p-ext66.5 | 1s7p-ext66.5 | 1336.4203 | 2248.976 | 107.2 | 180.4 | 1495.9929 | 160.4286 | 504.0071 | 40.4286
1s7p-ext53.0 | 1s7p-ext53.0 | 1606.8522 | 2704.0685 | 107.2 | 180.4 | 1798.7152 | 133.4286 | 201.2848 | 13.4286
1s7p-ext55.0 | 1s7p-ext55.0 | 1560.0832 | 2625.3638 | 107.2 | 180.4 | 1746.3617 | 137.4286 | 253.6383 | 17.4286
1s7p-ext46.0 | 1s7p-ext46.0 | 1795.2153 | 3021.0526 | 107.2 | 180.4 | 2009.5694 | 119.4286 | 9.5694 | 0.57143
1s7p-ext67.5 | 1s7p-ext67.5 | 1319.9648 | 2221.2841 | 107.2 | 180.4 | 1477.5726 | 162.4286 | 522.4274 | 42.4286
1s7p-ext56.0 | 1s7p-ext56.0 | 1537.7049 | 2587.7049 | 107.2 | 180.4 | 1721.3115 | 139.4286 | 278.6885 | 19.4286
1s7p-ext47.0 | 1s7p-ext47.0 | 1765.6471 | 2971.2941 | 107.2 | 180.4 | 1976.4706 | 121.4286 | 23.5294 | 1.4286
1s7p-ext68.5 | 1s7p-ext68.5 | 1303.9096 | 2194.2659 | 107.2 | 180.4 | 1459.6003 | 164.4286 | 540.3997 | 44.4286
1s7p-ext49.0 | 1s7p-ext49.0 | 1709.3394 | 2876.5376 | 107.2 | 180.4 | 1913.4396 | 125.4286 | 86.5604 | 5.4286
1s7p-ext70.5 | 1s7p-ext70.5 | 1272.9432 | 2142.1544 | 107.2 | 180.4 | 1424.9364 | 168.4286 | 575.0636 | 48.4286
1s7p-ext57.0 | 1s7p-ext57.0 | 1515.9596 | 2551.1111 | 107.2 | 180.4 | 1696.9697 | 141.4286 | 303.0303 | 21.4286
1s7p-ext48.0 | 1s7p-ext48.0 | 1737.037 | 2923.1481 | 107.2 | 180.4 | 1944.4444 | 123.4286 | 55.5556 | 3.4286
1s7p-ext69.5 | 1s7p-ext69.5 | 1288.2403 | 2167.897 | 107.2 | 180.4 | 1442.0601 | 166.4286 | 557.9399 | 46.4286
1s7p-ext71.5 | 1s7p-ext71.5 | 1258.005 | 2117.0159 | 107.2 | 180.4 | 1408.2146 | 170.4286 | 591.7854 | 50.4286
1s7p-ext72.5 | 1s7p-ext72.5 | 1243.4134 | 2092.4606 | 107.2 | 180.4 | 1391.8807 | 172.4286 | 608.1193 | 52.4286
1s7p-ext73.5 | 1s7p-ext73.5 | 1229.1564 | 2068.4685 | 107.2 | 180.4 | 1375.9214 | 174.4286 | 624.0786 | 54.4286
1s8p-ext50.0 | 1s8p-ext50.0 | 1701.5873 | 2863.4921 | 107.2 | 180.4 | 1904.7619 | 126 | 95.2381 | 6
1s8p-ext51.0 | 1s8p-ext51.0 | 1675 | 2818.75 | 107.2 | 180.4 | 1875 | 128 | 125 | 8
1s8p-ext52.0 | 1s8p-ext52.0 | 1649.2308 | 2775.3846 | 107.2 | 180.4 | 1846.1538 | 130 | 153.8462 | 10
1s8p-ext54.0 | 1s8p-ext54.0 | 1600 | 2692.5373 | 107.2 | 180.4 | 1791.0448 | 134 | 208.9552 | 14
1s8p-ext45.0 | 1s8p-ext45.0 | 1848.2759 | 3110.3448 | 107.2 | 180.4 | 2068.9655 | 116 | 68.9655 | 4
1s8p-ext66.5 | 1s8p-ext66.5 | 1348.4277 | 2269.1824 | 107.2 | 180.4 | 1509.434 | 159 | 490.566 | 39
1s8p-ext53.0 | 1s8p-ext53.0 | 1624.2424 | 2733.3333 | 107.2 | 180.4 | 1818.1818 | 132 | 181.8182 | 12
1s8p-ext55.0 | 1s8p-ext55.0 | 1576.4706 | 2652.9412 | 107.2 | 180.4 | 1764.7059 | 136 | 235.2941 | 16
1s8p-ext46.0 | 1s8p-ext46.0 | 1816.9492 | 3057.6271 | 107.2 | 180.4 | 2033.8983 | 118 | 33.8983 | 2
1s8p-ext67.5 | 1s8p-ext67.5 | 1331.677 | 2240.9938 | 107.2 | 180.4 | 1490.6832 | 161 | 509.3168 | 41
1s8p-ext56.0 | 1s8p-ext56.0 | 1553.6232 | 2614.4928 | 107.2 | 180.4 | 1739.1304 | 138 | 260.8696 | 18
1s8p-ext47.0 | 1s8p-ext47.0 | 1786.6667 | 3006.6667 | 107.2 | 180.4 | 2000 | 120 | 0 | 0
1s8p-ext68.5 | 1s8p-ext68.5 | 1315.3374 | 2213.4969 | 107.2 | 180.4 | 1472.3926 | 163 | 527.6074 | 43
1s8p-ext49.0 | 1s8p-ext49.0 | 1729.0323 | 2909.6774 | 107.2 | 180.4 | 1935.4839 | 124 | 64.5161 | 4
1s8p-ext70.5 | 1s8p-ext70.5 | 1283.8323 | 2160.479 | 107.2 | 180.4 | 1437.1257 | 167 | 562.8743 | 47
1s8p-ext57.0 | 1s8p-ext57.0 | 1531.4286 | 2577.1429 | 107.2 | 180.4 | 1714.2857 | 140 | 285.7143 | 20
1s8p-ext48.0 | 1s8p-ext48.0 | 1757.377 | 2957.377 | 107.2 | 180.4 | 1967.2131 | 122 | 32.7869 | 2
1s8p-ext69.5 | 1s8p-ext69.5 | 1299.3939 | 2186.6667 | 107.2 | 180.4 | 1454.5455 | 165 | 545.4545 | 45
1s8p-ext71.5 | 1s8p-ext71.5 | 1268.6391 | 2134.9112 | 107.2 | 180.4 | 1420.1183 | 169 | 579.8817 | 49
1s8p-ext72.5 | 1s8p-ext72.5 | 1253.8012 | 2109.9415 | 107.2 | 180.4 | 1403.5088 | 171 | 596.4912 | 51
1s8p-ext73.5 | 1s8p-ext73.5 | 1239.3064 | 2085.5491 | 107.2 | 180.4 | 1387.2832 | 173 | 612.7168 | 53

## min_current_error
Pattern | 1s8p-ext47.0
Min current[A] | 1786.6667
Max current[A] | 3006.6667
Min voltage[V] | 107.2
Max voltage[V] | 180.4
Current[A](120V) | 2000
Voltage[V](2000A) | 120
Current error | 0
Voltage error | 0

## min_voltage_error
Pattern | 1s8p-ext47.0
Min current[A] | 1786.6667
Max current[A] | 3006.6667
Min voltage[V] | 107.2
Max voltage[V] | 180.4
Current[A](120V) | 2000
Voltage[V](2000A) | 120
Current error | 0
Voltage error | 0

## table
Pattern | power_module_resistance | Series_num | Parallel_num | max_voltage | min_voltage | external_resistance1.0 | max_current_ext1.0 | min_current_ext1.0 | external_resistance2.0 | max_current_ext2.0 | min_current_ext2.0 | external_resistance4.0 | max_current_ext4.0 | min_current_ext4.0 | external_resistance16.5 | max_current_ext16.5 | min_current_ext16.5 | external_resistance28.5 | max_current_ext28.5 | min_current_ext28.5 | external_resistance50.0 | max_current_ext50.0 | min_current_ext50.0 | external_resistance3.0 | max_current_ext3.0 | min_current_ext3.0 | external_resistance5.0 | max_current_ext5.0 | min_current_ext5.0 | external_resistance17.5 | max_current_ext17.5 | min_current_ext17.5 | external_resistance29.5 | max_current_ext29.5 | min_current_ext29.5 | external_resistance51.0 | max_current_ext51.0 | min_current_ext51.0 | external_resistance6.0 | max_current_ext6.0 | min_current_ext6.0 | external_resistance18.5 | max_current_ext18.5 | min_current_ext18.5 | external_resistance30.5 | max_current_ext30.5 | min_current_ext30.5 | external_resistance52.0 | max_current_ext52.0 | min_current_ext52.0 | external_resistance20.5 | max_current_ext20.5 | min_current_ext20.5 | external_resistance32.5 | max_current_ext32.5 | min_current_ext32.5 | external_resistance54.0 | max_current_ext54.0 | min_current_ext54.0 | external_resistance45.0 | max_current_ext45.0 | min_current_ext45.0 | external_resistance66.5 | max_current_ext66.5 | min_current_ext66.5 | external_resistance78.5 | max_current_ext78.5 | min_current_ext78.5 | external_resistance7.0 | max_current_ext7.0 | min_current_ext7.0 | external_resistance19.5 | max_current_ext19.5 | min_current_ext19.5 | external_resistance31.5 | max_current_ext31.5 | min_current_ext31.5 | external_resistance53.0 | max_current_ext53.0 | min_current_ext53.0 | external_resistance21.5 | max_current_ext21.5 | min_current_ext21.5 | external_resistance33.5 | max_current_ext33.5 | min_current_ext33.5 | external_resistance55.0 | max_current_ext55.0 | min_current_ext55.0 | external_resistance46.0 | max_current_ext46.0 | min_current_ext46.0 | external_resistance67.5 | max_current_ext67.5 | min_current_ext67.5 | external_resistance79.5 | max_current_ext79.5 | min_current_ext79.5 | external_resistance22.5 | max_current_ext22.5 | min_current_ext22.5 | external_resistance34.5 | max_current_ext34.5 | min_current_ext34.5 | external_resistance56.0 | max_current_ext56.0 | min_current_ext56.0 | external_resistance47.0 | max_current_ext47.0 | min_current_ext47.0 | external_resistance68.5 | max_current_ext68.5 | min_current_ext68.5 | external_resistance80.5 | max_current_ext80.5 | min_current_ext80.5 | external_resistance49.0 | max_current_ext49.0 | min_current_ext49.0 | external_resistance70.5 | max_current_ext70.5 | min_current_ext70.5 | external_resistance82.5 | max_current_ext82.5 | min_current_ext82.5 | external_resistance95.0 | max_current_ext95.0 | min_current_ext95.0 | external_resistance23.5 | max_current_ext23.5 | min_current_ext23.5 | external_resistance35.5 | max_current_ext35.5 | min_current_ext35.5 | external_resistance57.0 | max_current_ext57.0 | min_current_ext57.0 | external_resistance48.0 | max_current_ext48.0 | min_current_ext48.0 | external_resistance69.5 | max_current_ext69.5 | min_current_ext69.5 | external_resistance81.5 | max_current_ext81.5 | min_current_ext81.5 | external_resistance71.5 | max_current_ext71.5 | min_current_ext71.5 | external_resistance83.5 | max_current_ext83.5 | min_current_ext83.5 | external_resistance96.0 | max_current_ext96.0 | min_current_ext96.0 | external_resistance72.5 | max_current_ext72.5 | min_current_ext72.5 | external_resistance84.5 | max_current_ext84.5 | min_current_ext84.5 | external_resistance97.0 | max_current_ext97.0 | min_current_ext97.0 | external_resistance99.0 | max_current_ext99.0 | min_current_ext99.0 | external_resistance73.5 | max_current_ext73.5 | min_current_ext73.5 | external_resistance85.5 | max_current_ext85.5 | min_current_ext85.5 | external_resistance98.0 | max_current_ext98.0 | min_current_ext98.0 | external_resistance100.0 | max_current_ext100.0 | min_current_ext100.0 | external_resistance101.0 | max_current_ext101.0 | min_current_ext101.0 | external_resistance102.0 | max_current_ext102.0 | min_current_ext102.0
1s1p | 40 | 1 | 1 | 180.4 | 107.2 | 49 | 3681.6327 | 2187.7551 | 50 | 3608 | 2144 | 52 | 3469.2308 | 2061.5385 | 64.5 | 2796.8992 | 1662.0155 | 76.5 | 2358.1699 | 1401.3072 | 98 | 1840.8163 | 1093.8776 | 51 | 3537.2549 | 2101.9608 | 53 | 3403.7736 | 2022.6415 | 65.5 | 2754.1985 | 1636.6412 | 77.5 | 2327.7419 | 1383.2258 | 99 | 1822.2222 | 1082.8283 | 54 | 3340.7407 | 1985.1852 | 66.5 | 2712.782 | 1612.0301 | 78.5 | 2298.0892 | 1365.6051 | 100 | 1804 | 1072 | 68.5 | 2633.5766 | 1564.9635 | 80.5 | 2240.9938 | 1331.677 | 102 | 1768.6275 | 1050.9804 | 93 | 1939.7849 | 1152.6882 | 114.5 | 1575.5459 | 936.2445 | 126.5 | 1426.087 | 847.4308 | 55 | 3280 | 1949.0909 | 67.5 | 2672.5926 | 1588.1481 | 79.5 | 2269.1824 | 1348.4277 | 101 | 1786.1386 | 1061.3861 | 69.5 | 2595.6835 | 1542.446 | 81.5 | 2213.4969 | 1315.3374 | 103 | 1751.4563 | 1040.7767 | 94 | 1919.1489 | 1140.4255 | 115.5 | 1561.9048 | 928.1385 | 127.5 | 1414.902 | 840.7843 | 70.5 | 2558.8652 | 1520.5674 | 82.5 | 2186.6667 | 1299.3939 | 104 | 1734.6154 | 1030.7692 | 95 | 1898.9474 | 1128.4211 | 116.5 | 1548.4979 | 920.1717 | 128.5 | 1403.8911 | 834.2412 | 97 | 1859.7938 | 1105.1546 | 118.5 | 1522.3629 | 904.6414 | 130.5 | 1382.3755 | 821.4559 | 143 | 1261.5385 | 749.6503 | 71.5 | 2523.0769 | 1499.3007 | 83.5 | 2160.479 | 1283.8323 | 105 | 1718.0952 | 1020.9524 | 96 | 1879.1667 | 1116.6667 | 117.5 | 1535.3191 | 912.3404 | 129.5 | 1393.0502 | 827.7992 | 119.5 | 1509.6234 | 897.0711 | 131.5 | 1371.8631 | 815.2091 | 144 | 1252.7778 | 744.4444 | 120.5 | 1497.0954 | 889.6266 | 132.5 | 1361.5094 | 809.0566 | 145 | 1244.1379 | 739.3103 | 147 | 1227.2109 | 729.2517 | 121.5 | 1484.7737 | 882.3045 | 133.5 | 1351.3109 | 802.9963 | 146 | 1235.6164 | 734.2466 | 148 | 1218.9189 | 724.3243 | 149 | 1210.7383 | 719.4631 | 150 | 1202.6667 | 714.6667
1s2p | 20 | 1 | 2 | 180.4 | 107.2 | 29 | 6220.6897 | 3696.5517 | 30 | 6013.3333 | 3573.3333 | 32 | 5637.5 | 3350 | 44.5 | 4053.9326 | 2408.9888 | 56.5 | 3192.9204 | 1897.3451 | 78 | 2312.8205 | 1374.359 | 31 | 5819.3548 | 3458.0645 | 33 | 5466.6667 | 3248.4848 | 45.5 | 3964.8352 | 2356.044 | 57.5 | 3137.3913 | 1864.3478 | 79 | 2283.5443 | 1356.962 | 34 | 5305.8824 | 3152.9412 | 46.5 | 3879.5699 | 2305.3763 | 58.5 | 3083.7607 | 1832.4786 | 80 | 2255 | 1340 | 48.5 | 3719.5876 | 2210.3093 | 60.5 | 2981.8182 | 1771.9008 | 82 | 2200 | 1307.3171 | 73 | 2471.2329 | 1468.4932 | 94.5 | 1908.9947 | 1134.3915 | 106.5 | 1693.8967 | 1006.5728 | 35 | 5154.2857 | 3062.8571 | 47.5 | 3797.8947 | 2256.8421 | 59.5 | 3031.9328 | 1801.6807 | 81 | 2227.1605 | 1323.4568 | 49.5 | 3644.4444 | 2165.6566 | 61.5 | 2933.3333 | 1743.0894 | 83 | 2173.494 | 1291.5663 | 74 | 2437.8378 | 1448.6486 | 95.5 | 1889.0052 | 1122.5131 | 107.5 | 1678.1395 | 997.2093 | 50.5 | 3572.2772 | 2122.7723 | 62.5 | 2886.4 | 1715.2 | 84 | 2147.619 | 1276.1905 | 75 | 2405.3333 | 1429.3333 | 96.5 | 1869.4301 | 1110.8808 | 108.5 | 1662.6728 | 988.0184 | 77 | 2342.8571 | 1392.2078 | 98.5 | 1831.4721 | 1088.3249 | 110.5 | 1632.5792 | 970.1357 | 123 | 1466.6667 | 871.5447 | 51.5 | 3502.9126 | 2081.5534 | 63.5 | 2840.9449 | 1688.189 | 85 | 2122.3529 | 1261.1765 | 76 | 2373.6842 | 1410.5263 | 97.5 | 1850.2564 | 1099.4872 | 109.5 | 1647.4886 | 978.9954 | 99.5 | 1813.0653 | 1077.3869 | 111.5 | 1617.9372 | 961.435 | 124 | 1454.8387 | 864.5161 | 100.5 | 1795.0249 | 1066.6667 | 112.5 | 1603.5556 | 952.8889 | 125 | 1443.2 | 857.6 | 127 | 1420.4724 | 844.0945 | 101.5 | 1777.3399 | 1056.1576 | 113.5 | 1589.4273 | 944.4934 | 126 | 1431.746 | 850.7937 | 128 | 1409.375 | 837.5 | 129 | 1398.4496 | 831.0078 | 130 | 1387.6923 | 824.6154
1s3p | 13.3333 | 1 | 3 | 180.4 | 107.2 | 22.3333 | 8077.6119 | 4800 | 23.3333 | 7731.4286 | 4594.2857 | 25.3333 | 7121.0526 | 4231.5789 | 37.8333 | 4768.2819 | 2833.4802 | 49.8333 | 3620.0669 | 2151.1706 | 71.3333 | 2528.972 | 1502.8037 | 24.3333 | 7413.6986 | 4405.4795 | 26.3333 | 6850.6329 | 4070.8861 | 38.8333 | 4645.4936 | 2760.515 | 50.8333 | 3548.8525 | 2108.8525 | 72.3333 | 2494.0092 | 1482.0276 | 27.3333 | 6600 | 3921.9512 | 39.8333 | 4528.8703 | 2691.2134 | 51.8333 | 3480.3859 | 2068.1672 | 73.3333 | 2460 | 1461.8182 | 41.8333 | 4312.3506 | 2562.5498 | 53.8333 | 3351.0836 | 1991.3313 | 75.3333 | 2394.6903 | 1423.0088 | 66.3333 | 2719.598 | 1616.0804 | 87.8333 | 2053.8899 | 1220.4934 | 99.8333 | 1807.0117 | 1073.7896 | 28.3333 | 6367.0588 | 3783.5294 | 40.8333 | 4417.9592 | 2625.3061 | 52.8333 | 3414.511 | 2029.0221 | 74.3333 | 2426.9058 | 1442.1525 | 42.8333 | 4211.6732 | 2502.7237 | 54.8333 | 3289.9696 | 1955.0152 | 76.3333 | 2363.3188 | 1404.3668 | 67.3333 | 2679.2079 | 1592.0792 | 88.8333 | 2030.7692 | 1206.7542 | 100.8333 | 1789.0909 | 1063.1405 | 43.8333 | 4115.5894 | 2445.6274 | 55.8333 | 3231.0448 | 1920 | 77.3333 | 2332.7586 | 1386.2069 | 68.3333 | 2640 | 1568.7805 | 89.8333 | 2008.1633 | 1193.321 | 101.8333 | 1771.5221 | 1052.7005 | 70.3333 | 2564.9289 | 1524.1706 | 91.8333 | 1964.4283 | 1167.3321 | 103.8333 | 1737.3997 | 1032.4238 | 116.3333 | 1550.7163 | 921.49 | 44.8333 | 4023.7918 | 2391.0781 | 56.8333 | 3174.1935 | 1886.217 | 78.3333 | 2302.9787 | 1368.5106 | 69.3333 | 2601.9231 | 1546.1538 | 90.8333 | 1986.055 | 1180.1835 | 102.8333 | 1754.295 | 1042.4635 | 92.8333 | 1943.2675 | 1154.7576 | 104.8333 | 1720.8267 | 1022.5755 | 117.3333 | 1537.5 | 913.6364 | 93.8333 | 1922.5577 | 1142.4512 | 105.8333 | 1704.5669 | 1012.9134 | 118.3333 | 1524.507 | 905.9155 | 120.3333 | 1499.169 | 890.8587 | 94.8333 | 1902.2847 | 1130.4042 | 106.8333 | 1688.6115 | 1003.4321 | 119.3333 | 1511.7318 | 898.324 | 121.3333 | 1486.8132 | 883.5165 | 122.3333 | 1474.6594 | 876.2943 | 123.3333 | 1462.7027 | 869.1892
1s4p | 10 | 1 | 4 | 180.4 | 107.2 | 19 | 9494.7368 | 5642.1053 | 20 | 9020 | 5360 | 22 | 8200 | 4872.7273 | 34.5 | 5228.9855 | 3107.2464 | 46.5 | 3879.5699 | 2305.3763 | 68 | 2652.9412 | 1576.4706 | 21 | 8590.4762 | 5104.7619 | 23 | 7843.4783 | 4660.8696 | 35.5 | 5081.6901 | 3019.7183 | 47.5 | 3797.8947 | 2256.8421 | 69 | 2614.4928 | 1553.6232 | 24 | 7516.6667 | 4466.6667 | 36.5 | 4942.4658 | 2936.9863 | 48.5 | 3719.5876 | 2210.3093 | 70 | 2577.1429 | 1531.4286 | 38.5 | 4685.7143 | 2784.4156 | 50.5 | 3572.2772 | 2122.7723 | 72 | 2505.5556 | 1488.8889 | 63 | 2863.4921 | 1701.5873 | 84.5 | 2134.9112 | 1268.6391 | 96.5 | 1869.4301 | 1110.8808 | 25 | 7216 | 4288 | 37.5 | 4810.6667 | 2858.6667 | 49.5 | 3644.4444 | 2165.6566 | 71 | 2540.8451 | 1509.8592 | 39.5 | 4567.0886 | 2713.9241 | 51.5 | 3502.9126 | 2081.5534 | 73 | 2471.2329 | 1468.4932 | 64 | 2818.75 | 1675 | 85.5 | 2109.9415 | 1253.8012 | 97.5 | 1850.2564 | 1099.4872 | 40.5 | 4454.321 | 2646.9136 | 52.5 | 3436.1905 | 2041.9048 | 74 | 2437.8378 | 1448.6486 | 65 | 2775.3846 | 1649.2308 | 86.5 | 2085.5491 | 1239.3064 | 98.5 | 1831.4721 | 1088.3249 | 67 | 2692.5373 | 1600 | 88.5 | 2038.4181 | 1211.2994 | 100.5 | 1795.0249 | 1066.6667 | 113 | 1596.4602 | 948.6726 | 41.5 | 4346.988 | 2583.1325 | 53.5 | 3371.9626 | 2003.7383 | 75 | 2405.3333 | 1429.3333 | 66 | 2733.3333 | 1624.2424 | 87.5 | 2061.7143 | 1225.1429 | 99.5 | 1813.0653 | 1077.3869 | 89.5 | 2015.6425 | 1197.7654 | 101.5 | 1777.3399 | 1056.1576 | 114 | 1582.4561 | 940.3509 | 90.5 | 1993.3702 | 1184.5304 | 102.5 | 1760 | 1045.8537 | 115 | 1568.6957 | 932.1739 | 117 | 1541.8803 | 916.2393 | 91.5 | 1971.5847 | 1171.5847 | 103.5 | 1742.9952 | 1035.7488 | 116 | 1555.1724 | 924.1379 | 118 | 1528.8136 | 908.4746 | 119 | 1515.9664 | 900.8403 | 120 | 1503.3333 | 893.3333
1s5p | 8 | 1 | 5 | 180.4 | 107.2 | 17 | 10611.7647 | 6305.8824 | 18 | 10022.2222 | 5955.5556 | 20 | 9020 | 5360 | 32.5 | 5550.7692 | 3298.4615 | 44.5 | 4053.9326 | 2408.9888 | 66 | 2733.3333 | 1624.2424 | 19 | 9494.7368 | 5642.1053 | 21 | 8590.4762 | 5104.7619 | 33.5 | 5385.0746 | 3200 | 45.5 | 3964.8352 | 2356.044 | 67 | 2692.5373 | 1600 | 22 | 8200 | 4872.7273 | 34.5 | 5228.9855 | 3107.2464 | 46.5 | 3879.5699 | 2305.3763 | 68 | 2652.9412 | 1576.4706 | 36.5 | 4942.4658 | 2936.9863 | 48.5 | 3719.5876 | 2210.3093 | 70 | 2577.1429 | 1531.4286 | 61 | 2957.377 | 1757.377 | 82.5 | 2186.6667 | 1299.3939 | 94.5 | 1908.9947 | 1134.3915 | 23 | 7843.4783 | 4660.8696 | 35.5 | 5081.6901 | 3019.7183 | 47.5 | 3797.8947 | 2256.8421 | 69 | 2614.4928 | 1553.6232 | 37.5 | 4810.6667 | 2858.6667 | 49.5 | 3644.4444 | 2165.6566 | 71 | 2540.8451 | 1509.8592 | 62 | 2909.6774 | 1729.0323 | 83.5 | 2160.479 | 1283.8323 | 95.5 | 1889.0052 | 1122.5131 | 38.5 | 4685.7143 | 2784.4156 | 50.5 | 3572.2772 | 2122.7723 | 72 | 2505.5556 | 1488.8889 | 63 | 2863.4921 | 1701.5873 | 84.5 | 2134.9112 | 1268.6391 | 96.5 | 1869.4301 | 1110.8808 | 65 | 2775.3846 | 1649.2308 | 86.5 | 2085.5491 | 1239.3064 | 98.5 | 1831.4721 | 1088.3249 | 111 | 1625.2252 | 965.7658 | 39.5 | 4567.0886 | 2713.9241 | 51.5 | 3502.9126 | 2081.5534 | 73 | 2471.2329 | 1468.4932 | 64 | 2818.75 | 1675 | 85.5 | 2109.9415 | 1253.8012 | 97.5 | 1850.2564 | 1099.4872 | 87.5 | 2061.7143 | 1225.1429 | 99.5 | 1813.0653 | 1077.3869 | 112 | 1610.7143 | 957.1429 | 88.5 | 2038.4181 | 1211.2994 | 100.5 | 1795.0249 | 1066.6667 | 113 | 1596.4602 | 948.6726 | 115 | 1568.6957 | 932.1739 | 89.5 | 2015.6425 | 1197.7654 | 101.5 | 1777.3399 | 1056.1576 | 114 | 1582.4561 | 940.3509 | 116 | 1555.1724 | 924.1379 | 117 | 1541.8803 | 916.2393 | 118 | 1528.8136 | 908.4746
1s6p | 6.6667 | 1 | 6 | 180.4 | 107.2 | 15.6667 | 11514.8936 | 6842.5532 | 16.6667 | 10824 | 6432 | 18.6667 | 9664.2857 | 5742.8571 | 31.1667 | 5788.2353 | 3439.5722 | 43.1667 | 4179.1506 | 2483.3977 | 64.6667 | 2789.6907 | 1657.732 | 17.6667 | 10211.3208 | 6067.9245 | 19.6667 | 9172.8814 | 5450.8475 | 32.1667 | 5608.2902 | 3332.6425 | 44.1667 | 4084.5283 | 2427.1698 | 65.6667 | 2747.2081 | 1632.4873 | 20.6667 | 8729.0323 | 5187.0968 | 33.1667 | 5439.196 | 3232.1608 | 45.1667 | 3994.0959 | 2373.4317 | 66.6667 | 2706 | 1608 | 35.1667 | 5129.8578 | 3048.3412 | 47.1667 | 3824.735 | 2272.7915 | 68.6667 | 2627.1845 | 1561.165 | 59.6667 | 3023.4637 | 1796.648 | 81.1667 | 2222.5873 | 1320.7392 | 93.1667 | 1936.3148 | 1150.6261 | 21.6667 | 8326.1538 | 4947.6923 | 34.1667 | 5280 | 3137.561 | 46.1667 | 3907.5812 | 2322.0217 | 67.6667 | 2666.0099 | 1584.2365 | 36.1667 | 4988.0184 | 2964.0553 | 48.1667 | 3745.3287 | 2225.6055 | 69.6667 | 2589.4737 | 1538.756 | 60.6667 | 2973.6264 | 1767.033 | 82.1667 | 2195.5375 | 1304.6653 | 94.1667 | 1915.7522 | 1138.4071 | 37.1667 | 4853.8117 | 2884.3049 | 49.1667 | 3669.1525 | 2180.339 | 70.6667 | 2552.8302 | 1516.9811 | 61.6667 | 2925.4054 | 1738.3784 | 83.1667 | 2169.1383 | 1288.978 | 95.1667 | 1895.6217 | 1126.4448 | 63.6667 | 2833.5079 | 1683.7696 | 85.1667 | 2118.1996 | 1258.7084 | 97.1667 | 1856.6038 | 1103.259 | 109.6667 | 1644.9848 | 977.5076 | 38.1667 | 4726.6376 | 2808.7336 | 50.1667 | 3596.0133 | 2136.8771 | 71.6667 | 2517.2093 | 1495.814 | 62.6667 | 2878.7234 | 1710.6383 | 84.1667 | 2143.3663 | 1273.6634 | 96.1667 | 1875.9099 | 1114.7314 | 86.1667 | 2093.617 | 1244.1006 | 98.1667 | 1837.691 | 1092.0204 | 110.6667 | 1630.1205 | 968.6747 | 87.1667 | 2069.5985 | 1229.8279 | 99.1667 | 1819.1597 | 1081.0084 | 111.6667 | 1615.5224 | 960 | 113.6667 | 1587.0968 | 943.1085 | 88.1667 | 2046.1248 | 1215.879 | 100.1667 | 1800.9983 | 1070.2163 | 112.6667 | 1601.1834 | 951.4793 | 114.6667 | 1573.2558 | 934.8837 | 115.6667 | 1559.6542 | 926.8012 | 116.6667 | 1546.2857 | 918.8571
1s7p | 5.7143 | 1 | 7 | 180.4 | 107.2 | 14.7143 | 12260.1942 | 7285.4369 | 15.7143 | 11480 | 6821.8182 | 17.7143 | 10183.871 | 6051.6129 | 30.2143 | 5970.6856 | 3547.9905 | 42.2143 | 4273.4349 | 2539.4247 | 63.7143 | 2831.3901 | 1682.5112 | 16.7143 | 10793.1624 | 6413.6752 | 18.7143 | 9639.6947 | 5728.2443 | 31.2143 | 5779.405 | 3434.3249 | 43.2143 | 4174.5455 | 2480.6612 | 64.7143 | 2787.638 | 1656.5121 | 19.7143 | 9150.7246 | 5437.6812 | 32.2143 | 5600 | 3327.7162 | 44.2143 | 4080.1292 | 2424.5557 | 65.7143 | 2745.2174 | 1631.3043 | 34.2143 | 5272.6514 | 3133.1942 | 46.2143 | 3903.5549 | 2319.6291 | 67.7143 | 2664.135 | 1583.1224 | 58.7143 | 3072.5061 | 1825.7908 | 80.2143 | 2248.976 | 1336.4203 | 92.2143 | 1956.3129 | 1162.5097 | 20.7143 | 8708.9655 | 5175.1724 | 33.2143 | 5431.3978 | 3227.5269 | 45.2143 | 3989.8894 | 2370.9321 | 66.7143 | 2704.0685 | 1606.8522 | 35.2143 | 5122.9209 | 3044.2191 | 47.2143 | 3820.8775 | 2270.4992 | 68.7143 | 2625.3638 | 1560.0832 | 59.7143 | 3021.0526 | 1795.2153 | 81.2143 | 2221.2841 | 1319.9648 | 93.2143 | 1935.3257 | 1150.0383 | 36.2143 | 4981.4596 | 2960.1578 | 48.2143 | 3741.6296 | 2223.4074 | 69.7143 | 2587.7049 | 1537.7049 | 60.7143 | 2971.2941 | 1765.6471 | 82.2143 | 2194.2659 | 1303.9096 | 94.2143 | 1914.7839 | 1137.8317 | 62.7143 | 2876.5376 | 1709.3394 | 84.2143 | 2142.1544 | 1272.9432 | 96.2143 | 1874.9814 | 1114.1797 | 108.7143 | 1659.3955 | 986.071 | 37.2143 | 4847.6008 | 2880.6142 | 49.2143 | 3665.6023 | 2178.2293 | 70.7143 | 2551.1111 | 1515.9596 | 61.7143 | 2923.1481 | 1737.037 | 83.2143 | 2167.897 | 1288.2403 | 95.2143 | 1894.6737 | 1125.8815 | 85.2143 | 2117.0159 | 1258.005 | 97.2143 | 1855.6943 | 1102.7186 | 109.7143 | 1644.2708 | 977.0833 | 86.2143 | 2092.4606 | 1243.4134 | 98.2143 | 1836.8 | 1091.4909 | 110.7143 | 1629.4194 | 968.2581 | 112.7143 | 1600.507 | 951.0773 | 87.2143 | 2068.4685 | 1229.1564 | 99.2143 | 1818.2865 | 1080.4896 | 111.7143 | 1614.8338 | 959.5908 | 113.7143 | 1586.4322 | 942.7136 | 114.7143 | 1572.6027 | 934.4956 | 115.7143 | 1559.0123 | 926.4198
1s8p | 5 | 1 | 8 | 180.4 | 107.2 | 14 | 12885.7143 | 7657.1429 | 15 | 12026.6667 | 7146.6667 | 17 | 10611.7647 | 6305.8824 | 29.5 | 6115.2542 | 3633.8983 | 41.5 | 4346.988 | 2583.1325 | 63 | 2863.4921 | 1701.5873 | 16 | 11275 | 6700 | 18 | 10022.2222 | 5955.5556 | 30.5 | 5914.7541 | 3514.7541 | 42.5 | 4244.7059 | 2522.3529 | 64 | 2818.75 | 1675 | 19 | 9494.7368 | 5642.1053 | 31.5 | 5726.9841 | 3403.1746 | 43.5 | 4147.1264 | 2464.3678 | 65 | 2775.3846 | 1649.2308 | 33.5 | 5385.0746 | 3200 | 45.5 | 3964.8352 | 2356.044 | 67 | 2692.5373 | 1600 | 58 | 3110.3448 | 1848.2759 | 79.5 | 2269.1824 | 1348.4277 | 91.5 | 1971.5847 | 1171.5847 | 20 | 9020 | 5360 | 32.5 | 5550.7692 | 3298.4615 | 44.5 | 4053.9326 | 2408.9888 | 66 | 2733.3333 | 1624.2424 | 34.5 | 5228.9855 | 3107.2464 | 46.5 | 3879.5699 | 2305.3763 | 68 | 2652.9412 | 1576.4706 | 59 | 3057.6271 | 1816.9492 | 80.5 | 2240.9938 | 1331.677 | 92.5 | 1950.2703 | 1158.9189 | 35.5 | 5081.6901 | 3019.7183 | 47.5 | 3797.8947 | 2256.8421 | 69 | 2614.4928 | 1553.6232 | 60 | 3006.6667 | 1786.6667 | 81.5 | 2213.4969 | 1315.3374 | 93.5 | 1929.4118 | 1146.5241 | 62 | 2909.6774 | 1729.0323 | 83.5 | 2160.479 | 1283.8323 | 95.5 | 1889.0052 | 1122.5131 | 108 | 1670.3704 | 992.5926 | 36.5 | 4942.4658 | 2936.9863 | 48.5 | 3719.5876 | 2210.3093 | 70 | 2577.1429 | 1531.4286 | 61 | 2957.377 | 1757.377 | 82.5 | 2186.6667 | 1299.3939 | 94.5 | 1908.9947 | 1134.3915 | 84.5 | 2134.9112 | 1268.6391 | 96.5 | 1869.4301 | 1110.8808 | 109 | 1655.0459 | 983.4862 | 85.5 | 2109.9415 | 1253.8012 | 97.5 | 1850.2564 | 1099.4872 | 110 | 1640 | 974.5455 | 112 | 1610.7143 | 957.1429 | 86.5 | 2085.5491 | 1239.3064 | 98.5 | 1831.4721 | 1088.3249 | 111 | 1625.2252 | 965.7658 | 113 | 1596.4602 | 948.6726 | 114 | 1582.4561 | 940.3509 | 115 | 1568.6957 | 932.1739
2s1p | 80 | 2 | 1 | 360.8 | 214.4 | 89 | 4053.9326 | 2408.9888 | 90 | 4008.8889 | 2382.2222 | 92 | 3921.7391 | 2330.4348 | 104.5 | 3452.6316 | 2051.6746 | 116.5 | 3096.9957 | 1840.3433 | 138 | 2614.4928 | 1553.6232 | 91 | 3964.8352 | 2356.044 | 93 | 3879.5699 | 2305.3763 | 105.5 | 3419.9052 | 2032.2275 | 117.5 | 3070.6383 | 1824.6809 | 139 | 2595.6835 | 1542.446 | 94 | 3838.2979 | 2280.8511 | 106.5 | 3387.7934 | 2013.1455 | 118.5 | 3044.7257 | 1809.2827 | 140 | 2577.1429 | 1531.4286 | 108.5 | 3325.3456 | 1976.0369 | 120.5 | 2994.1909 | 1779.2531 | 142 | 2540.8451 | 1509.8592 | 133 | 2712.782 | 1612.0301 | 154.5 | 2335.2751 | 1387.7023 | 166.5 | 2166.967 | 1287.6877 | 95 | 3797.8947 | 2256.8421 | 107.5 | 3356.2791 | 1994.4186 | 119.5 | 3019.2469 | 1794.1423 | 141 | 2558.8652 | 1520.5674 | 109.5 | 3294.9772 | 1957.9909 | 121.5 | 2969.5473 | 1764.6091 | 143 | 2523.0769 | 1499.3007 | 134 | 2692.5373 | 1600 | 155.5 | 2320.2572 | 1378.7781 | 167.5 | 2154.0299 | 1280 | 110.5 | 3265.1584 | 1940.2715 | 122.5 | 2945.3061 | 1750.2041 | 144 | 2505.5556 | 1488.8889 | 135 | 2672.5926 | 1588.1481 | 156.5 | 2305.4313 | 1369.9681 | 168.5 | 2141.2463 | 1272.4036 | 137 | 2633.5766 | 1564.9635 | 158.5 | 2276.3407 | 1352.6814 | 170.5 | 2116.129 | 1257.478 | 183 | 1971.5847 | 1171.5847 | 111.5 | 3235.8744 | 1922.87 | 123.5 | 2921.4575 | 1736.0324 | 145 | 2488.2759 | 1478.6207 | 136 | 2652.9412 | 1576.4706 | 157.5 | 2290.7937 | 1361.2698 | 169.5 | 2128.6136 | 1264.8968 | 159.5 | 2262.069 | 1344.2006 | 171.5 | 2103.7901 | 1250.1458 | 184 | 1960.8696 | 1165.2174 | 160.5 | 2247.9751 | 1335.8255 | 172.5 | 2091.5942 | 1242.8986 | 185 | 1950.2703 | 1158.9189 | 187 | 1929.4118 | 1146.5241 | 161.5 | 2234.0557 | 1327.5542 | 173.5 | 2079.5389 | 1235.7349 | 186 | 1939.7849 | 1152.6882 | 188 | 1919.1489 | 1140.4255 | 189 | 1908.9947 | 1134.3915 | 190 | 1898.9474 | 1128.4211
2s2p | 40 | 2 | 2 | 360.8 | 214.4 | 49 | 7363.2653 | 4375.5102 | 50 | 7216 | 4288 | 52 | 6938.4615 | 4123.0769 | 64.5 | 5593.7984 | 3324.031 | 76.5 | 4716.3399 | 2802.6144 | 98 | 3681.6327 | 2187.7551 | 51 | 7074.5098 | 4203.9216 | 53 | 6807.5472 | 4045.283 | 65.5 | 5508.3969 | 3273.2824 | 77.5 | 4655.4839 | 2766.4516 | 99 | 3644.4444 | 2165.6566 | 54 | 6681.4815 | 3970.3704 | 66.5 | 5425.5639 | 3224.0602 | 78.5 | 4596.1783 | 2731.2102 | 100 | 3608 | 2144 | 68.5 | 5267.1533 | 3129.927 | 80.5 | 4481.9876 | 2663.354 | 102 | 3537.2549 | 2101.9608 | 93 | 3879.5699 | 2305.3763 | 114.5 | 3151.0917 | 1872.4891 | 126.5 | 2852.1739 | 1694.8617 | 55 | 6560 | 3898.1818 | 67.5 | 5345.1852 | 3176.2963 | 79.5 | 4538.3648 | 2696.8553 | 101 | 3572.2772 | 2122.7723 | 69.5 | 5191.3669 | 3084.8921 | 81.5 | 4426.9939 | 2630.6748 | 103 | 3502.9126 | 2081.5534 | 94 | 3838.2979 | 2280.8511 | 115.5 | 3123.8095 | 1856.2771 | 127.5 | 2829.8039 | 1681.5686 | 70.5 | 5117.7305 | 3041.1348 | 82.5 | 4373.3333 | 2598.7879 | 104 | 3469.2308 | 2061.5385 | 95 | 3797.8947 | 2256.8421 | 116.5 | 3096.9957 | 1840.3433 | 128.5 | 2807.7821 | 1668.4825 | 97 | 3719.5876 | 2210.3093 | 118.5 | 3044.7257 | 1809.2827 | 130.5 | 2764.751 | 1642.9119 | 143 | 2523.0769 | 1499.3007 | 71.5 | 5046.1538 | 2998.6014 | 83.5 | 4320.9581 | 2567.6647 | 105 | 3436.1905 | 2041.9048 | 96 | 3758.3333 | 2233.3333 | 117.5 | 3070.6383 | 1824.6809 | 129.5 | 2786.1004 | 1655.5985 | 119.5 | 3019.2469 | 1794.1423 | 131.5 | 2743.7262 | 1630.4183 | 144 | 2505.5556 | 1488.8889 | 120.5 | 2994.1909 | 1779.2531 | 132.5 | 2723.0189 | 1618.1132 | 145 | 2488.2759 | 1478.6207 | 147 | 2454.4218 | 1458.5034 | 121.5 | 2969.5473 | 1764.6091 | 133.5 | 2702.6217 | 1605.9925 | 146 | 2471.2329 | 1468.4932 | 148 | 2437.8378 | 1448.6486 | 149 | 2421.4765 | 1438.9262 | 150 | 2405.3333 | 1429.3333
2s3p | 26.6667 | 2 | 3 | 360.8 | 214.4 | 35.6667 | 10115.8879 | 6011.215 | 36.6667 | 9840 | 5847.2727 | 38.6667 | 9331.0345 | 5544.8276 | 51.1667 | 7051.4658 | 4190.228 | 63.1667 | 5711.8734 | 3394.1953 | 84.6667 | 4261.4173 | 2532.2835 | 37.6667 | 9578.7611 | 5692.0354 | 39.6667 | 9095.7983 | 5405.042 | 52.1667 | 6916.2939 | 4109.9042 | 64.1667 | 5622.8571 | 3341.2987 | 85.6667 | 4211.6732 | 2502.7237 | 40.6667 | 8872.1311 | 5272.1311 | 53.1667 | 6786.2069 | 4032.6019 | 65.1667 | 5536.5729 | 3290.0256 | 86.6667 | 4163.0769 | 2473.8462 | 55.1667 | 6540.1813 | 3886.4048 | 67.1667 | 5371.7122 | 3192.0596 | 88.6667 | 4069.1729 | 2418.0451 | 79.6667 | 4528.8703 | 2691.2134 | 101.1667 | 3566.3921 | 2119.2751 | 113.1667 | 3188.218 | 1894.5508 | 41.6667 | 8659.2 | 5145.6 | 54.1667 | 6660.9231 | 3958.1538 | 66.1667 | 5452.8967 | 3240.3023 | 87.6667 | 4115.5894 | 2445.6274 | 56.1667 | 6423.7389 | 3817.2107 | 68.1667 | 5292.9095 | 3145.2323 | 89.6667 | 4023.7918 | 2391.0781 | 80.6667 | 4472.7273 | 2657.8512 | 102.1667 | 3531.4845 | 2098.5318 | 114.1667 | 3160.292 | 1877.9562 | 57.1667 | 6311.3703 | 3750.4373 | 69.1667 | 5216.3855 | 3099.759 | 90.6667 | 3979.4118 | 2364.7059 | 81.6667 | 4417.9592 | 2625.3061 | 103.1667 | 3497.2536 | 2078.1906 | 115.1667 | 3132.8509 | 1861.6498 | 83.6667 | 4312.3506 | 2562.5498 | 105.1667 | 3430.7448 | 2038.6688 | 117.1667 | 3079.3741 | 1829.872 | 129.6667 | 2782.5193 | 1653.4704 | 58.1667 | 6202.8653 | 3685.9599 | 70.1667 | 5142.0428 | 3055.5819 | 91.6667 | 3936 | 2338.9091 | 82.6667 | 4364.5161 | 2593.5484 | 104.1667 | 3463.68 | 2058.24 | 116.1667 | 3105.8824 | 1845.6241 | 106.1667 | 3398.4301 | 2019.4662 | 118.1667 | 3053.3145 | 1814.3865 | 130.6667 | 2761.2245 | 1640.8163 | 107.1667 | 3366.7185 | 2000.6221 | 119.1667 | 3027.6923 | 1799.1608 | 131.6667 | 2740.2532 | 1628.3544 | 133.6667 | 2699.2519 | 1603.99 | 108.1667 | 3335.5932 | 1982.1263 | 120.1667 | 3002.4965 | 1784.1886 | 132.6667 | 2719.598 | 1616.0804 | 134.6667 | 2679.2079 | 1592.0792 | 135.6667 | 2659.4595 | 1580.344 | 136.6667 | 2640 | 1568.7805
2s4p | 20 | 2 | 4 | 360.8 | 214.4 | 29 | 12441.3793 | 7393.1034 | 30 | 12026.6667 | 7146.6667 | 32 | 11275 | 6700 | 44.5 | 8107.8652 | 4817.9775 | 56.5 | 6385.8407 | 3794.6903 | 78 | 4625.641 | 2748.7179 | 31 | 11638.7097 | 6916.129 | 33 | 10933.3333 | 6496.9697 | 45.5 | 7929.6703 | 4712.0879 | 57.5 | 6274.7826 | 3728.6957 | 79 | 4567.0886 | 2713.9241 | 34 | 10611.7647 | 6305.8824 | 46.5 | 7759.1398 | 4610.7527 | 58.5 | 6167.5214 | 3664.9573 | 80 | 4510 | 2680 | 48.5 | 7439.1753 | 4420.6186 | 60.5 | 5963.6364 | 3543.8017 | 82 | 4400 | 2614.6341 | 73 | 4942.4658 | 2936.9863 | 94.5 | 3817.9894 | 2268.7831 | 106.5 | 3387.7934 | 2013.1455 | 35 | 10308.5714 | 6125.7143 | 47.5 | 7595.7895 | 4513.6842 | 59.5 | 6063.8655 | 3603.3613 | 81 | 4454.321 | 2646.9136 | 49.5 | 7288.8889 | 4331.3131 | 61.5 | 5866.6667 | 3486.1789 | 83 | 4346.988 | 2583.1325 | 74 | 4875.6757 | 2897.2973 | 95.5 | 3778.0105 | 2245.0262 | 107.5 | 3356.2791 | 1994.4186 | 50.5 | 7144.5545 | 4245.5446 | 62.5 | 5772.8 | 3430.4 | 84 | 4295.2381 | 2552.381 | 75 | 4810.6667 | 2858.6667 | 96.5 | 3738.8601 | 2221.7617 | 108.5 | 3325.3456 | 1976.0369 | 77 | 4685.7143 | 2784.4156 | 98.5 | 3662.9442 | 2176.6497 | 110.5 | 3265.1584 | 1940.2715 | 123 | 2933.3333 | 1743.0894 | 51.5 | 7005.8252 | 4163.1068 | 63.5 | 5681.8898 | 3376.378 | 85 | 4244.7059 | 2522.3529 | 76 | 4747.3684 | 2821.0526 | 97.5 | 3700.5128 | 2198.9744 | 109.5 | 3294.9772 | 1957.9909 | 99.5 | 3626.1307 | 2154.7739 | 111.5 | 3235.8744 | 1922.87 | 124 | 2909.6774 | 1729.0323 | 100.5 | 3590.0498 | 2133.3333 | 112.5 | 3207.1111 | 1905.7778 | 125 | 2886.4 | 1715.2 | 127 | 2840.9449 | 1688.189 | 101.5 | 3554.6798 | 2112.3153 | 113.5 | 3178.8546 | 1888.9868 | 126 | 2863.4921 | 1701.5873 | 128 | 2818.75 | 1675 | 129 | 2796.8992 | 1662.0155 | 130 | 2775.3846 | 1649.2308
3s1p | 120 | 3 | 1 | 541.2 | 321.6 | 129 | 4195.3488 | 2493.0233 | 130 | 4163.0769 | 2473.8462 | 132 | 4100 | 2436.3636 | 144.5 | 3745.3287 | 2225.6055 | 156.5 | 3458.147 | 2054.9521 | 178 | 3040.4494 | 1806.7416 | 131 | 4131.2977 | 2454.9618 | 133 | 4069.1729 | 2418.0451 | 145.5 | 3719.5876 | 2210.3093 | 157.5 | 3436.1905 | 2041.9048 | 179 | 3023.4637 | 1796.648 | 134 | 4038.806 | 2400 | 146.5 | 3694.198 | 2195.2218 | 158.5 | 3414.511 | 2029.0221 | 180 | 3006.6667 | 1786.6667 | 148.5 | 3644.4444 | 2165.6566 | 160.5 | 3371.9626 | 2003.7383 | 182 | 2973.6264 | 1767.033 | 173 | 3128.3237 | 1858.9595 | 194.5 | 2782.5193 | 1653.4704 | 206.5 | 2620.8232 | 1557.385 | 135 | 4008.8889 | 2382.2222 | 147.5 | 3669.1525 | 2180.339 | 159.5 | 3393.1034 | 2016.3009 | 181 | 2990.0552 | 1776.7956 | 149.5 | 3620.0669 | 2151.1706 | 161.5 | 3351.0836 | 1991.3313 | 183 | 2957.377 | 1757.377 | 174 | 3110.3448 | 1848.2759 | 195.5 | 2768.2864 | 1645.0128 | 207.5 | 2608.1928 | 1549.8795 | 150.5 | 3596.0133 | 2136.8771 | 162.5 | 3330.4615 | 1979.0769 | 184 | 2941.3043 | 1747.8261 | 175 | 3092.5714 | 1837.7143 | 196.5 | 2754.1985 | 1636.6412 | 208.5 | 2595.6835 | 1542.446 | 177 | 3057.6271 | 1816.9492 | 198.5 | 2726.4484 | 1620.1511 | 210.5 | 2571.0214 | 1527.791 | 223 | 2426.9058 | 1442.1525 | 151.5 | 3572.2772 | 2122.7723 | 163.5 | 3310.0917 | 1966.9725 | 185 | 2925.4054 | 1738.3784 | 176 | 3075 | 1827.2727 | 197.5 | 2740.2532 | 1628.3544 | 209.5 | 2583.2936 | 1535.0835 | 199.5 | 2712.782 | 1612.0301 | 211.5 | 2558.8652 | 1520.5674 | 224 | 2416.0714 | 1435.7143 | 200.5 | 2699.2519 | 1603.99 | 212.5 | 2546.8235 | 1513.4118 | 225 | 2405.3333 | 1429.3333 | 227 | 2384.141 | 1416.7401 | 201.5 | 2685.8561 | 1596.0298 | 213.5 | 2534.8946 | 1506.3232 | 226 | 2394.6903 | 1423.0088 | 228 | 2373.6842 | 1410.5263 | 229 | 2363.3188 | 1404.3668 | 230 | 2353.0435 | 1398.2609
3s2p | 60 | 3 | 2 | 541.2 | 321.6 | 69 | 7843.4783 | 4660.8696 | 70 | 7731.4286 | 4594.2857 | 72 | 7516.6667 | 4466.6667 | 84.5 | 6404.7337 | 3805.9172 | 96.5 | 5608.2902 | 3332.6425 | 118 | 4586.4407 | 2725.4237 | 71 | 7622.5352 | 4529.5775 | 73 | 7413.6986 | 4405.4795 | 85.5 | 6329.8246 | 3761.4035 | 97.5 | 5550.7692 | 3298.4615 | 119 | 4547.8992 | 2702.521 | 74 | 7313.5135 | 4345.9459 | 86.5 | 6256.6474 | 3717.9191 | 98.5 | 5494.4162 | 3264.9746 | 120 | 4510 | 2680 | 88.5 | 6115.2542 | 3633.8983 | 100.5 | 5385.0746 | 3200 | 122 | 4436.0656 | 2636.0656 | 113 | 4789.3805 | 2846.0177 | 134.5 | 4023.7918 | 2391.0781 | 146.5 | 3694.198 | 2195.2218 | 75 | 7216 | 4288 | 87.5 | 6185.1429 | 3675.4286 | 99.5 | 5439.196 | 3232.1608 | 121 | 4472.7273 | 2657.8512 | 89.5 | 6046.9274 | 3593.2961 | 101.5 | 5332.0197 | 3168.4729 | 123 | 4400 | 2614.6341 | 114 | 4747.3684 | 2821.0526 | 135.5 | 3994.0959 | 2373.4317 | 147.5 | 3669.1525 | 2180.339 | 90.5 | 5980.1105 | 3553.5912 | 102.5 | 5280 | 3137.561 | 124 | 4364.5161 | 2593.5484 | 115 | 4706.087 | 2796.5217 | 136.5 | 3964.8352 | 2356.044 | 148.5 | 3644.4444 | 2165.6566 | 117 | 4625.641 | 2748.7179 | 138.5 | 3907.5812 | 2322.0217 | 150.5 | 3596.0133 | 2136.8771 | 163 | 3320.2454 | 1973.0061 | 91.5 | 5914.7541 | 3514.7541 | 103.5 | 5228.9855 | 3107.2464 | 125 | 4329.6 | 2572.8 | 116 | 4665.5172 | 2772.4138 | 137.5 | 3936 | 2338.9091 | 149.5 | 3620.0669 | 2151.1706 | 139.5 | 3879.5699 | 2305.3763 | 151.5 | 3572.2772 | 2122.7723 | 164 | 3300 | 1960.9756 | 140.5 | 3851.9573 | 2288.968 | 152.5 | 3548.8525 | 2108.8525 | 165 | 3280 | 1949.0909 | 167 | 3240.7186 | 1925.7485 | 141.5 | 3824.735 | 2272.7915 | 153.5 | 3525.7329 | 2095.114 | 166 | 3260.241 | 1937.3494 | 168 | 3221.4286 | 1914.2857 | 169 | 3202.3669 | 1902.9586 | 170 | 3183.5294 | 1891.7647
4s1p | 160 | 4 | 1 | 721.6 | 428.8 | 169 | 4269.8225 | 2537.2781 | 170 | 4244.7059 | 2522.3529 | 172 | 4195.3488 | 2493.0233 | 184.5 | 3911.1111 | 2324.1192 | 196.5 | 3672.2646 | 2182.1883 | 218 | 3310.0917 | 1966.9725 | 171 | 4219.883 | 2507.6023 | 173 | 4171.0983 | 2478.6127 | 185.5 | 3890.027 | 2311.5903 | 197.5 | 3653.6709 | 2171.1392 | 219 | 3294.9772 | 1957.9909 | 174 | 4147.1264 | 2464.3678 | 186.5 | 3869.1689 | 2299.1957 | 198.5 | 3635.2645 | 2160.2015 | 220 | 3280 | 1949.0909 | 188.5 | 3828.1167 | 2274.8011 | 200.5 | 3599.0025 | 2138.6534 | 222 | 3250.4505 | 1931.5315 | 213 | 3387.7934 | 2013.1455 | 234.5 | 3077.1855 | 1828.5714 | 246.5 | 2927.3834 | 1739.5538 | 175 | 4123.4286 | 2450.2857 | 187.5 | 3848.5333 | 2286.9333 | 199.5 | 3617.0426 | 2149.3734 | 221 | 3265.1584 | 1940.2715 | 189.5 | 3807.9156 | 2262.7968 | 201.5 | 3581.1414 | 2128.0397 | 223 | 3235.8744 | 1922.87 | 214 | 3371.9626 | 2003.7383 | 235.5 | 3064.1189 | 1820.8068 | 247.5 | 2915.5556 | 1732.5253 | 190.5 | 3787.9265 | 2250.9186 | 202.5 | 3563.4568 | 2117.5309 | 224 | 3221.4286 | 1914.2857 | 215 | 3356.2791 | 1994.4186 | 236.5 | 3051.1628 | 1813.1078 | 248.5 | 2903.8229 | 1725.5533 | 217 | 3325.3456 | 1976.0369 | 238.5 | 3025.5765 | 1797.9036 | 250.5 | 2880.6387 | 1711.7764 | 263 | 2743.7262 | 1630.4183 | 191.5 | 3768.1462 | 2239.1645 | 203.5 | 3545.9459 | 2107.1253 | 225 | 3207.1111 | 1905.7778 | 216 | 3340.7407 | 1985.1852 | 237.5 | 3038.3158 | 1805.4737 | 249.5 | 2892.1844 | 1718.6373 | 239.5 | 3012.9436 | 1790.3967 | 251.5 | 2869.1849 | 1704.9702 | 264 | 2733.3333 | 1624.2424 | 240.5 | 3000.4158 | 1782.9522 | 252.5 | 2857.8218 | 1698.2178 | 265 | 2723.0189 | 1618.1132 | 267 | 2702.6217 | 1605.9925 | 241.5 | 2987.9917 | 1775.5694 | 253.5 | 2846.5483 | 1691.5187 | 266 | 2712.782 | 1612.0301 | 268 | 2692.5373 | 1600 | 269 | 2682.5279 | 1594.052 | 270 | 2672.5926 | 1588.1481
4s2p | 80 | 4 | 2 | 721.6 | 428.8 | 89 | 8107.8652 | 4817.9775 | 90 | 8017.7778 | 4764.4444 | 92 | 7843.4783 | 4660.8696 | 104.5 | 6905.2632 | 4103.3493 | 116.5 | 6193.9914 | 3680.6867 | 138 | 5228.9855 | 3107.2464 | 91 | 7929.6703 | 4712.0879 | 93 | 7759.1398 | 4610.7527 | 105.5 | 6839.8104 | 4064.455 | 117.5 | 6141.2766 | 3649.3617 | 139 | 5191.3669 | 3084.8921 | 94 | 7676.5957 | 4561.7021 | 106.5 | 6775.5869 | 4026.2911 | 118.5 | 6089.4515 | 3618.5654 | 140 | 5154.2857 | 3062.8571 | 108.5 | 6650.6912 | 3952.0737 | 120.5 | 5988.3817 | 3558.5062 | 142 | 5081.6901 | 3019.7183 | 133 | 5425.5639 | 3224.0602 | 154.5 | 4670.5502 | 2775.4045 | 166.5 | 4333.9339 | 2575.3754 | 95 | 7595.7895 | 4513.6842 | 107.5 | 6712.5581 | 3988.8372 | 119.5 | 6038.4937 | 3588.2845 | 141 | 5117.7305 | 3041.1348 | 109.5 | 6589.9543 | 3915.9817 | 121.5 | 5939.0947 | 3529.2181 | 143 | 5046.1538 | 2998.6014 | 134 | 5385.0746 | 3200 | 155.5 | 4640.5145 | 2757.5563 | 167.5 | 4308.0597 | 2560 | 110.5 | 6530.3167 | 3880.543 | 122.5 | 5890.6122 | 3500.4082 | 144 | 5011.1111 | 2977.7778 | 135 | 5345.1852 | 3176.2963 | 156.5 | 4610.8626 | 2739.9361 | 168.5 | 4282.4926 | 2544.8071 | 137 | 5267.1533 | 3129.927 | 158.5 | 4552.6814 | 2705.3628 | 170.5 | 4232.2581 | 2514.956 | 183 | 3943.1694 | 2343.1694 | 111.5 | 6471.7489 | 3845.7399 | 123.5 | 5842.915 | 3472.0648 | 145 | 4976.5517 | 2957.2414 | 136 | 5305.8824 | 3152.9412 | 157.5 | 4581.5873 | 2722.5397 | 169.5 | 4257.2271 | 2529.7935 | 159.5 | 4524.1379 | 2688.4013 | 171.5 | 4207.5802 | 2500.2915 | 184 | 3921.7391 | 2330.4348 | 160.5 | 4495.9502 | 2671.6511 | 172.5 | 4183.1884 | 2485.7971 | 185 | 3900.5405 | 2317.8378 | 187 | 3858.8235 | 2293.0481 | 161.5 | 4468.1115 | 2655.1084 | 173.5 | 4159.0778 | 2471.4697 | 186 | 3879.5699 | 2305.3763 | 188 | 3838.2979 | 2280.8511 | 189 | 3817.9894 | 2268.7831 | 190 | 3797.8947 | 2256.8421
5s1p | 200 | 5 | 1 | 902 | 536 | 209 | 4315.7895 | 2564.5933 | 210 | 4295.2381 | 2552.381 | 212 | 4254.717 | 2528.3019 | 224.5 | 4017.8174 | 2387.5278 | 236.5 | 3813.9535 | 2266.3848 | 258 | 3496.124 | 2077.5194 | 211 | 4274.8815 | 2540.2844 | 213 | 4234.7418 | 2516.4319 | 225.5 | 4000 | 2376.9401 | 237.5 | 3797.8947 | 2256.8421 | 259 | 3482.6255 | 2069.4981 | 214 | 4214.9533 | 2504.6729 | 226.5 | 3982.34 | 2366.4459 | 238.5 | 3781.9706 | 2247.3795 | 260 | 3469.2308 | 2061.5385 | 228.5 | 3947.4836 | 2345.733 | 240.5 | 3750.5198 | 2228.6902 | 262 | 3442.7481 | 2045.8015 | 253 | 3565.2174 | 2118.5771 | 274.5 | 3285.9745 | 1952.6412 | 286.5 | 3148.3421 | 1870.8551 | 215 | 4195.3488 | 2493.0233 | 227.5 | 3964.8352 | 2356.044 | 239.5 | 3766.1795 | 2237.9958 | 261 | 3455.9387 | 2053.6398 | 229.5 | 3930.2832 | 2335.512 | 241.5 | 3734.9896 | 2219.4617 | 263 | 3429.6578 | 2038.0228 | 254 | 3551.1811 | 2110.2362 | 275.5 | 3274.0472 | 1945.5535 | 287.5 | 3137.3913 | 1864.3478 | 230.5 | 3913.2321 | 2325.3796 | 242.5 | 3719.5876 | 2210.3093 | 264 | 3416.6667 | 2030.303 | 255 | 3537.2549 | 2101.9608 | 276.5 | 3262.2061 | 1938.5172 | 288.5 | 3126.5165 | 1857.8856 | 257 | 3509.7276 | 2085.6031 | 278.5 | 3238.7792 | 1924.5961 | 290.5 | 3104.9914 | 1845.0947 | 303 | 2976.8977 | 1768.9769 | 231.5 | 3896.3283 | 2315.3348 | 243.5 | 3704.3121 | 2201.232 | 265 | 3403.7736 | 2022.6415 | 256 | 3523.4375 | 2093.75 | 277.5 | 3250.4505 | 1931.5315 | 289.5 | 3115.7168 | 1851.468 | 279.5 | 3227.1914 | 1917.7102 | 291.5 | 3094.3396 | 1838.765 | 304 | 2967.1053 | 1763.1579 | 280.5 | 3215.6863 | 1910.8734 | 292.5 | 3083.7607 | 1832.4786 | 305 | 2957.377 | 1757.377 | 307 | 2938.1107 | 1745.9283 | 281.5 | 3204.2629 | 1904.0853 | 293.5 | 3073.2538 | 1826.2351 | 306 | 2947.7124 | 1751.634 | 308 | 2928.5714 | 1740.2597 | 309 | 2919.0939 | 1734.6278 | 310 | 2909.6774 | 1729.0323
6s1p | 240 | 6 | 1 | 1082.4 | 643.2 | 249 | 4346.988 | 2583.1325 | 250 | 4329.6 | 2572.8 | 252 | 4295.2381 | 2552.381 | 264.5 | 4092.2495 | 2431.758 | 276.5 | 3914.6474 | 2326.2206 | 298 | 3632.2148 | 2158.3893 | 251 | 4312.3506 | 2562.5498 | 253 | 4278.2609 | 2542.2925 | 265.5 | 4076.8362 | 2422.5989 | 277.5 | 3900.5405 | 2317.8378 | 299 | 3620.0669 | 2151.1706 | 254 | 4261.4173 | 2532.2835 | 266.5 | 4061.5385 | 2413.5084 | 278.5 | 3886.535 | 2309.5153 | 300 | 3608 | 2144 | 268.5 | 4031.2849 | 2395.5307 | 280.5 | 3858.8235 | 2293.0481 | 302 | 3584.106 | 2129.8013 | 293 | 3694.198 | 2195.2218 | 314.5 | 3441.6534 | 2045.151 | 326.5 | 3315.1608 | 1969.9847 | 255 | 4244.7059 | 2522.3529 | 267.5 | 4046.3551 | 2404.486 | 279.5 | 3872.6297 | 2301.2522 | 301 | 3596.0133 | 2136.8771 | 269.5 | 4016.3265 | 2386.6419 | 281.5 | 3845.1155 | 2284.9023 | 303 | 3572.2772 | 2122.7723 | 294 | 3681.6327 | 2187.7551 | 315.5 | 3430.7448 | 2038.6688 | 327.5 | 3305.0382 | 1963.9695 | 270.5 | 4001.4787 | 2377.8189 | 282.5 | 3831.5044 | 2276.8142 | 304 | 3560.5263 | 2115.7895 | 295 | 3669.1525 | 2180.339 | 316.5 | 3419.9052 | 2032.2275 | 328.5 | 3294.9772 | 1957.9909 | 297 | 3644.4444 | 2165.6566 | 318.5 | 3398.4301 | 2019.4662 | 330.5 | 3275.0378 | 1946.1422 | 343 | 3155.6851 | 1875.2187 | 271.5 | 3986.7403 | 2369.0608 | 283.5 | 3817.9894 | 2268.7831 | 305 | 3548.8525 | 2108.8525 | 296 | 3656.7568 | 2172.973 | 317.5 | 3409.1339 | 2025.8268 | 329.5 | 3284.9772 | 1952.0486 | 319.5 | 3387.7934 | 2013.1455 | 331.5 | 3265.1584 | 1940.2715 | 344 | 3146.5116 | 1869.7674 | 320.5 | 3377.2231 | 2006.8643 | 332.5 | 3255.3383 | 1934.4361 | 345 | 3137.3913 | 1864.3478 | 347 | 3119.3084 | 1853.6023 | 321.5 | 3366.7185 | 2000.6221 | 333.5 | 3245.5772 | 1928.6357 | 346 | 3128.3237 | 1858.9595 | 348 | 3110.3448 | 1848.2759 | 349 | 3101.4327 | 1842.9799 | 350 | 3092.5714 | 1837.7143
7s1p | 280 | 7 | 1 | 1262.8 | 750.4 | 289 | 4369.5502 | 2596.5398 | 290 | 4354.4828 | 2587.5862 | 292 | 4324.6575 | 2569.863 | 304.5 | 4147.1264 | 2464.3678 | 316.5 | 3989.8894 | 2370.9321 | 338 | 3736.0947 | 2220.1183 | 291 | 4339.5189 | 2578.6942 | 293 | 4309.8976 | 2561.0922 | 305.5 | 4133.5516 | 2456.3011 | 317.5 | 3977.3228 | 2363.4646 | 339 | 3725.0737 | 2213.5693 | 294 | 4295.2381 | 2552.381 | 306.5 | 4120.0653 | 2448.2871 | 318.5 | 3964.8352 | 2356.044 | 340 | 3714.1176 | 2207.0588 | 308.5 | 4093.3549 | 2432.4149 | 320.5 | 3940.0936 | 2341.3417 | 342 | 3692.3977 | 2194.152 | 333 | 3792.1922 | 2253.4535 | 354.5 | 3562.2003 | 2116.7842 | 366.5 | 3445.5662 | 2047.4761 | 295 | 4280.678 | 2543.7288 | 307.5 | 4106.6667 | 2440.3252 | 319.5 | 3952.4257 | 2348.6698 | 341 | 3703.2258 | 2200.5865 | 309.5 | 4080.1292 | 2424.5557 | 321.5 | 3927.8383 | 2334.0591 | 343 | 3681.6327 | 2187.7551 | 334 | 3780.8383 | 2246.7066 | 355.5 | 3552.18 | 2110.8298 | 367.5 | 3436.1905 | 2041.9048 | 310.5 | 4066.9887 | 2416.7472 | 322.5 | 3915.6589 | 2326.8217 | 344 | 3670.9302 | 2181.3953 | 335 | 3769.5522 | 2240 | 356.5 | 3542.216 | 2104.9088 | 368.5 | 3426.8657 | 2036.3636 | 337 | 3747.181 | 2226.7062 | 358.5 | 3522.4547 | 2093.166 | 370.5 | 3408.3671 | 2025.3711 | 383 | 3297.1279 | 1959.2689 | 311.5 | 4053.9326 | 2408.9888 | 323.5 | 3903.5549 | 2319.6291 | 345 | 3660.2899 | 2175.0725 | 336 | 3758.3333 | 2233.3333 | 357.5 | 3532.3077 | 2099.021 | 369.5 | 3417.5913 | 2030.8525 | 359.5 | 3512.6565 | 2087.3435 | 371.5 | 3399.1925 | 2019.9192 | 384 | 3288.5417 | 1954.1667 | 360.5 | 3502.9126 | 2081.5534 | 372.5 | 3390.0671 | 2014.4966 | 385 | 3280 | 1949.0909 | 387 | 3263.0491 | 1939.0181 | 361.5 | 3493.2227 | 2075.7953 | 373.5 | 3380.9906 | 2009.1031 | 386 | 3271.5026 | 1944.0415 | 388 | 3254.6392 | 1934.0206 | 389 | 3246.2725 | 1929.0488 | 390 | 3237.9487 | 1924.1026
8s1p | 320 | 8 | 1 | 1443.2 | 857.6 | 329 | 4386.6261 | 2606.6869 | 330 | 4373.3333 | 2598.7879 | 332 | 4346.988 | 2583.1325 | 344.5 | 4189.2598 | 2489.4049 | 356.5 | 4048.2468 | 2405.6101 | 378 | 3817.9894 | 2268.7831 | 331 | 4360.1208 | 2590.9366 | 333 | 4333.9339 | 2575.3754 | 345.5 | 4177.1346 | 2482.1997 | 357.5 | 4036.9231 | 2398.8811 | 379 | 3807.9156 | 2262.7968 | 334 | 4320.9581 | 2567.6647 | 346.5 | 4165.0794 | 2475.0361 | 358.5 | 4025.6625 | 2392.1897 | 380 | 3797.8947 | 2256.8421 | 348.5 | 4141.1765 | 2460.8321 | 360.5 | 4003.3287 | 2378.9182 | 382 | 3778.0105 | 2245.0262 | 373 | 3869.1689 | 2299.1957 | 394.5 | 3658.3016 | 2173.891 | 406.5 | 3550.3075 | 2109.7171 | 335 | 4308.0597 | 2560 | 347.5 | 4153.0935 | 2467.9137 | 359.5 | 4014.4645 | 2385.5355 | 381 | 3787.9265 | 2250.9186 | 349.5 | 4129.3276 | 2453.7911 | 361.5 | 3992.2545 | 2372.3375 | 383 | 3768.1462 | 2239.1645 | 374 | 3858.8235 | 2293.0481 | 395.5 | 3649.0518 | 2168.3944 | 407.5 | 3541.5951 | 2104.5399 | 350.5 | 4117.5464 | 2446.7903 | 362.5 | 3981.2414 | 2365.7931 | 384 | 3758.3333 | 2233.3333 | 375 | 3848.5333 | 2286.9333 | 396.5 | 3639.8487 | 2162.9256 | 408.5 | 3532.9253 | 2099.388 | 377 | 3828.1167 | 2274.8011 | 398.5 | 3621.5809 | 2152.0703 | 410.5 | 3515.7125 | 2089.1596 | 423 | 3411.8203 | 2027.4232 | 351.5 | 4105.8321 | 2439.8293 | 363.5 | 3970.2889 | 2359.2847 | 385 | 3748.5714 | 2227.5325 | 376 | 3838.2979 | 2280.8511 | 397.5 | 3630.6918 | 2157.4843 | 409.5 | 3524.2979 | 2094.2613 | 399.5 | 3612.5156 | 2146.6834 | 411.5 | 3507.1689 | 2084.0826 | 424 | 3403.7736 | 2022.6415 | 400.5 | 3603.4956 | 2141.3233 | 412.5 | 3498.6667 | 2079.0303 | 425 | 3395.7647 | 2017.8824 | 427 | 3379.8595 | 2008.4309 | 401.5 | 3594.5205 | 2135.99 | 413.5 | 3490.2056 | 2074.0024 | 426 | 3387.7934 | 2013.1455 | 428 | 3371.9626 | 2003.7383 | 429 | 3364.1026 | 1999.0676 | 430 | 3356.2791 | 1994.4186